## Storm Overflow Map May 2025
Site | Count of activations | Sum of DURATION (min) | Hours | Average Duration (mins) | Top 10 Avg Duration notes | Top 10 Count Notes | Top 10 Durations
BEDFORD STW | 345 | 380 | 6.3333 | 1.1014 |  | Noisy monitor
IPSWICH-WHERSTEAD RD SP | 154 | 658 | 10.9667 | 4.2727 |  | Noisy monitor
EARLS COLNE UPPER HOLT ST CSO | 101 | 635 | 10.5833 | 6.2871
TOPPESFIELD STW | 97 | 5 | 0.083333 | 0.051546 |  | Noisy monitor
GT YARMOUTH-BRYANTS QUAY SM | 67 | 26 | 0.43333 | 0.38806 |  | Noisy moinitor
SOUTHWOLD-COMMON THE STW | 57 | 42 | 0.7 | 0.73684 |  | Noisy monitor
RUNWELL-BROCK HILL OVERFLOW | 39 | 3629 | 60.4833 | 93.0513 |  |  | Potential monitor fault
TODDINGTON-CONGER LANE SSO | 34 | 2116 | 35.2667 | 62.2353 |  | Potential monitor fault/false alarms
OSBOURNBY STW | 32 | 226 | 3.7667 | 7.0625 |  | Numerous activations on 29/05/2025
RYHALL STW | 31 | 1048 | 17.4667 | 33.8065 |  | Numerous activations
HAUGHLEY-OLD ST STW | 27 | 323 | 5.3833 | 11.963
KETTERING - 9 MARGARET ROAD CSO | 26 | 1680 | 28 | 64.6154
HALLATON STW | 26 | 1285 | 21.4167 | 49.4231
RAMSEY STW | 25 | 512 | 8.5333 | 20.48
LOWESTOFT - NEWSONS MEADOW | 24 | 401 | 6.6833 | 16.7083
SOUTHEND STW (Long sea outfall) | 23 | 317 | 5.2833 | 13.7826
SO AT SHENFIELD SEWER | 21 | 2347 | 39.1167 | 111.7619 |  |  | Potential monitor fault
LOWESTOFT-NESS POINT TPS | 21 | 42 | 0.7 | 2
CRANFORD STW | 21 | 21 | 0.35 | 1
LONG BENNINGTON STW | 20 | 581 | 9.6833 | 29.05
ALDEBURGH STW | 20 | 161 | 2.6833 | 8.05
BLASTON-ST GILES CHURCH SSO | 19 | 317 | 5.2833 | 16.6842
HEMSWELL R.A.F. STW | 18 | 110 | 1.8333 | 6.1111
NORTHAMPTON VICTORIA GARDENS CSO | 18 | 93 | 1.55 | 5.1667
BILLINGHAY STW | 18 | 9 | 0.15 | 0.5
WELLINGBOROUGH-MARKET ST SSO | 17 | 91 | 1.5167 | 5.3529
BOURNE STW | 16 | 309 | 5.15 | 19.3125
MARCH-WINDSOR DRIVE OV | 15 | 4608 | 76.8 | 307.2 |  |  | Potential monitor fault
KINGSCLIFFE STW | 15 | 84 | 1.4 | 5.6
OUNDLE-EAST RD SSO | 15 | 35 | 0.58333 | 2.3333
BIGGLESWADE STW | 15 | 17 | 0.28333 | 1.1333
THORPE MALSOR STW | 14 | 407 | 6.7833 | 29.0714
GRIMSBY-PYEWIPE STW | 14 | 339 | 5.65 | 24.2143
CLAYPOLE STW (NEW WORKS) | 14 | 299 | 4.9833 | 21.3571
SOUTH RAUCEBY STW | 13 | 4 | 0.066667 | 0.30769
MALDON-FAMBRIDGE RD | 12 | 631 | 10.5167 | 52.5833
BUCKINGHAM-STOWE AVENUE SSO | 12 | 23 | 0.38333 | 1.9167
MANTHORPE STW | 12 | 16 | 0.26667 | 1.3333
WIVENHOE-PHILLIP RD OV | 11 | 2300 | 38.3333 | 209.0909 |  |  | Potential monitor fault
COLCHESTER-GREENSTEAD RD OV | 11 | 450 | 7.5 | 40.9091
NORWICH-KING STREET SSO #2 | 11 | 69 | 1.15 | 6.2727
IPSWICH-TUNNEL OUTFALL | 11 | 42 | 0.7 | 3.8182
GT YARMOUTH-TOWN HALL SP | 11 | 13 | 0.21667 | 1.1818
UPWOOD STW | 11 | 4 | 0.066667 | 0.36364
BURTON LATIMER 21 KING RD SSO | 10 | 150 | 2.5 | 15
GT YARMOUTH-TAR WORKS RD NEWSM | 10 | 125 | 2.0833 | 12.5
LOUTH-CHURCH LIGHTS CSO | 10 | 78 | 1.3 | 7.8
GT YARMTH-STOWN SUFFOLK RD SP | 10 | 10 | 0.16667 | 1
KINGS LYNN-NAR LANE SP | 10 | 10 | 0.16667 | 1
HASLINGFIELD-STW | 10 | 3 | 0.05 | 0.3
WOLLASTON A509 ROUNDABOUT CSO#1 | 9 | 2747 | 45.7833 | 305.2222 |  |  | Potential monitor fault
KNOSSINGTON STW | 9 | 466 | 7.7667 | 51.7778
LEISTON-CROSS ST/HAYLINGS ROAD | 9 | 105 | 1.75 | 11.6667
GT YARMOUTH-GARRISON RD SP | 9 | 63 | 1.05 | 7
PITSEA STW | 9 | 47 | 0.78333 | 5.2222
DESBOROUGH-RECTORY FIELD SSO | 8 | 1575 | 26.25 | 196.875
GORLESTON-BAKER ST SP | 8 | 623 | 10.3833 | 77.875
EIGHT ASH GREEN-STW | 8 | 452 | 7.5333 | 56.5
NORWICH - KETTS HILL | 8 | 260 | 4.3333 | 32.5
NORWICH - TURNING BASIN (Aka King Street CSO was 519XI) | 8 | 159 | 2.65 | 19.875
NORTHAMPTON-LOWER HESTER ST OV | 8 | 152 | 2.5333 | 19
SIBSEY STW | 8 | 33 | 0.55 | 4.125
KETTERING -1 MARGARET ROAD CSO | 7 | 2508 | 41.8 | 358.2857 |  |  | Potential Monitor issues
DOWNHAM MARKET-RAILWAY SSO | 7 | 479 | 7.9833 | 68.4286
LACEBY STW | 7 | 73 | 1.2167 | 10.4286
LITTLE BYTHAM STW | 7 | 63 | 1.05 | 9
TILTON ON THE HILL STW | 7 | 55 | 0.91667 | 7.8571
GIMINGHAM-NR MILL TPS | 7 | 47 | 0.78333 | 6.7143
SOUTHWOLD-MARLBOROUGH RD OV | 7 | 13 | 0.21667 | 1.8571
FRAMLINGHAM-FORE ST SO | 7 | 0 | 0 | 0
MUNDFORD STW | 7 | 0 | 0 | 0
MUNDESLEY-KNAPTON RD OUTFALL | 6 | 466 | 7.7667 | 77.6667
COGENHOE MILL LANE CSO | 6 | 90 | 1.5 | 15
CLACTON-HOLLAND HAVEN STW | 6 | 74 | 1.2333 | 12.3333
HUMBERSTONE-HUMBERSTONE RD SSO | 6 | 71 | 1.1833 | 11.8333
LOWESTOFT, ST PETER'S STREET #X CSO | 6 | 54 | 0.9 | 9
Norwich Drayton Road No 3 / Bootbinder Road CSO | 6 | 29 | 0.48333 | 4.8333
LOWESTOFT-BELVEDERE RD SO | 6 | 21 | 0.35 | 3.5
NORTHALL SP | 6 | 10 | 0.16667 | 1.6667
NORWICH SCHOOL LANE - BEDFORD STREET | 5 | 10063 | 167.7167 | 2012.6 |  |  | Potential monitor fault
CROMER STW | 5 | 2454 | 40.9 | 490.8 |  |  | Long event on 27/5/25 to 28/5/25. Other events recorded are much shorter in duration.
OAKHAM STW | 5 | 387 | 6.45 | 77.4
TROWSE-NORWICH MAIN SP | 5 | 141 | 2.35 | 28.2
TUGBY STW | 5 | 63 | 1.05 | 12.6
STAMFORD ST MARYS ST OVERFLOW | 5 | 49 | 0.81667 | 9.8
ROTTERDAM ROAD #2 COMBINED SEWER OVERFLOW | 5 | 44 | 0.73333 | 8.8
TURVEY-STATION ROAD SP | 5 | 26 | 0.43333 | 5.2
SKELLINGTHORPE-GARDENFIELD SP | 5 | 23 | 0.38333 | 4.6
MAYLANDSEA STW | 5 | 13 | 0.21667 | 2.6
PRESTON STW | 5 | 13 | 0.21667 | 2.6
GODMANCHESTER-WHITE HART TPS | 5 | 10 | 0.16667 | 2
EASTON ON THE HILL STW | 5 | 8 | 0.13333 | 1.6
WILSTEAD-BEDFORD RD DUCK END | 4 | 12666 | 211.1 | 3166.5 |  |  | Delay in outstation reporting, which caused false extended duration.
GREAT EASTON STW (LEICS) | 4 | 2156 | 35.9333 | 539 | Activations indicated on 24th and 27th
ARDLEY STW | 4 | 876 | 14.6 | 219
CAISTER STW | 4 | 533 | 8.8833 | 133.25
KINGS LYNN-MILLFLEET SO1 OV | 4 | 127 | 2.1167 | 31.75
COLCHESTER-EAST BR (EAST)OV | 4 | 118 | 1.9667 | 29.5
TEALBY STW | 4 | 117 | 1.95 | 29.25
OVERSTRAND-PAULS LN SM | 4 | 111 | 1.85 | 27.75
LEISTON-VALLEY ROAD/CROWN STREET [2] | 4 | 103 | 1.7167 | 25.75
GT GONERBY-BELTON LANE SP | 4 | 95 | 1.5833 | 23.75
SUTTON-STATION RD OV | 4 | 81 | 1.35 | 20.25
KIBWORTH STW | 4 | 75 | 1.25 | 18.75
WING STW | 4 | 69 | 1.15 | 17.25
ASHWELL STW | 4 | 63 | 1.05 | 15.75
NORTHAMPTON-DUSTON MAIN RD SSO | 4 | 60 | 1 | 15
WISBECH-LYNN RD TPS | 4 | 58 | 0.96667 | 14.5
NORTH LUFFENHAM STW | 4 | 53 | 0.88333 | 13.25
BOTTISHAM STW | 4 | 34 | 0.56667 | 8.5
MATTISHALL STW | 4 | 33 | 0.55 | 8.25
CAISTER-HEADWORKS PS | 4 | 30 | 0.5 | 7.5
BARLEY STW | 4 | 26 | 0.43333 | 6.5
BRISTON STW | 4 | 26 | 0.43333 | 6.5
DODDINGTON STW | 4 | 26 | 0.43333 | 6.5
SCAWBY SEWER SSO | 4 | 25 | 0.41667 | 6.25
CHELMSFORD STW | 4 | 20 | 0.33333 | 5
IMMINGHAM STW | 4 | 14 | 0.23333 | 3.5
NORWICH-FYE BRIDGE (N) SSO | 4 | 11 | 0.18333 | 2.75
BOSTON-SLEAFORD RD SP | 4 | 4 | 0.066667 | 1
DEREHAM-RUSHMEADOW RD STW | 4 | 4 | 0.066667 | 1
DRAYTON PARSLOW STW | 4 | 1 | 0.016667 | 0.25
SWAFFHAM STW | 3 | 588 | 9.8 | 196
WELLINGBOROUGH-BROOK VALE SSO | 3 | 480 | 8 | 160
TUR LANGTON TPS | 3 | 380 | 6.3333 | 126.6667
BUGBROOKE STW | 3 | 325 | 5.4167 | 108.3333
COLCHESTER-ST ALBANS RD OV | 3 | 295 | 4.9167 | 98.3333
IPSWICH-CLIFF QUAY STW (EASTERN AREA SEWER CSO) | 3 | 270 | 4.5 | 90
BARNHAM BROOM-MILL ROAD SM | 3 | 228 | 3.8 | 76
MARCH-DARTFORD RD/ELIOTS RDSSO | 3 | 207 | 3.45 | 69
JAYWICK NEW STW | 3 | 190 | 3.1667 | 63.3333
CORTON-BAKERS SCORE TPS | 3 | 143 | 2.3833 | 47.6667
CHIPPENHAM STW | 3 | 134 | 2.2333 | 44.6667
MANTHORPE-MILL SP | 3 | 104 | 1.7333 | 34.6667
HUNSTANTON SOUTH END ROAD TPS | 3 | 79 | 1.3167 | 26.3333
SUTTON BRIDGE STW | 3 | 79 | 1.3167 | 26.3333
GREENS NORTON-BENGAL MANOR SSO | 3 | 74 | 1.2333 | 24.6667
HARPOLE-NORTHAMPTON RD SSO | 3 | 57 | 0.95 | 19
WELTON STW (NORTHANTS) | 3 | 54 | 0.9 | 18
HUNSTANTON-SMUGGLERS LANE SP | 3 | 43 | 0.71667 | 14.3333
KINGS LYNN-MILLFLEET SO4 SSO | 3 | 42 | 0.7 | 14
HARPOLE-WEEDON RD SSO | 3 | 37 | 0.61667 | 12.3333
EAST LANGTON STW | 3 | 34 | 0.56667 | 11.3333
STORM WATER ALMA PARK | 3 | 31 | 0.51667 | 10.3333
SAFFRON WALDEN STW | 3 | 28 | 0.46667 | 9.3333
TILBURY STW | 3 | 23 | 0.38333 | 7.6667
WHITTON STW | 3 | 21 | 0.35 | 7
DONINGTON STW | 3 | 19 | 0.31667 | 6.3333
TWYFORD-SCHOOL LANE TPS | 3 | 16 | 0.26667 | 5.3333
UPPINGHAM STW | 3 | 15 | 0.25 | 5
NORTHAMPTON-SWAN ST OV | 3 | 14 | 0.23333 | 4.6667
SAXILBY STW | 3 | 14 | 0.23333 | 4.6667
WINTERINGHAM STW | 3 | 8 | 0.13333 | 2.6667
SIBLE HEDINGHAM-ALDEFORD ST | 3 | 7 | 0.11667 | 2.3333
HUNTINGDON-HARTFORD ROAD SP | 3 | 6 | 0.1 | 2
BRAUNSTON STW | 3 | 4 | 0.066667 | 1.3333
ROWHEDGE REGENTS COURT CSO | 3 | 4 | 0.066667 | 1.3333
HOLTON LE CLAY STW | 3 | 3 | 0.05 | 1
THURLEIGH STW | 3 | 1 | 0.016667 | 0.33333
WEST DEEPING - MH951 SSO | 2 | 2880 | 48 | 1440 |  |  | Outstation reporting issue
WELLINGBOROUGH-MONKS WAY SSO | 2 | 1678 | 27.9667 | 839 | Potential outstation reporting issue
BOSTON-EAST SIDE TPS | 2 | 489 | 8.15 | 244.5
THORNEY STW | 2 | 307 | 5.1167 | 153.5
GT YARMTH-N DENES/JELLICO R SP | 2 | 302 | 5.0333 | 151
NEEDINGWORTH STW | 2 | 280 | 4.6667 | 140
NORMANBY-PARK SP | 2 | 273 | 4.55 | 136.5
LONG STRATTON STW | 2 | 248 | 4.1333 | 124
SKENDLEBY STW | 2 | 232 | 3.8667 | 116
ASHWELLTHORPE STW | 2 | 209 | 3.4833 | 104.5
FOXTON STW (LEICS) | 2 | 191 | 3.1833 | 95.5
SHIPDHAM-PARKLANDS AVENUE CSO | 2 | 145 | 2.4167 | 72.5
HARLAXTON STW | 2 | 126 | 2.1 | 63
DERSINGHAM-MOUNTBATTEN ROAD SP | 2 | 100 | 1.6667 | 50
GRIMSBY-PYEWIPE SO TPS | 2 | 99 | 1.65 | 49.5
THAXTED-PARK STREET | 2 | 97 | 1.6167 | 48.5
S BENFLEET-WHATLINGTON RD TPS | 2 | 95 | 1.5833 | 47.5
BOXFORD STW | 2 | 83 | 1.3833 | 41.5
CHATTERIS-NIGHTLAYER FEN STW | 2 | 80 | 1.3333 | 40
CHATTERIS-NIGHTLAYER STW TPS | 2 | 80 | 1.3333 | 40
FRINTON-UPPER SECOND AVE OV | 2 | 69 | 1.15 | 34.5
COSGROVE-DOGSMOUTH SO SSO | 2 | 45 | 0.75 | 22.5
Burton Latimer Finedon Road SSO | 2 | 44 | 0.73333 | 22
BURTON LATIMER-HIGHAM ROAD SSO | 2 | 44 | 0.73333 | 22
WOLLASTON-UNITY CLOSE SSO | 2 | 44 | 0.73333 | 22
PETERBOROUGH (FLAG FEN) STW | 2 | 38 | 0.63333 | 19
WITTERING STW | 2 | 36 | 0.6 | 18
DUNHOLME STW | 2 | 34 | 0.56667 | 17
LOUTH SPAW LANE SSO | 2 | 34 | 0.56667 | 17
MIDDLETON STW (NORTHANTS) | 2 | 34 | 0.56667 | 17
NORTHAMPTON-BECKETTS PARK SSO | 2 | 33 | 0.55 | 16.5
HECKINGTON STW | 2 | 23 | 0.38333 | 11.5
ALWALTON SP | 2 | 22 | 0.36667 | 11
MARCH-WISBECH RD OV | 2 | 22 | 0.36667 | 11
GRENDON STW | 2 | 20 | 0.33333 | 10
CHALKWELL ESPLANADE OUTFALL | 2 | 18 | 0.3 | 9
FOSTON SP | 2 | 18 | 0.3 | 9
ROCHFORD-DORIE AVE & ASHINGD | 2 | 18 | 0.3 | 9
SOUTHEND PRITTLE BROOK STORAGE TANK | 2 | 18 | 0.3 | 9
WEST WALTON STW | 2 | 18 | 0.3 | 9
LEISTON-VALLEY ROAD/CROWN STREET | 2 | 15 | 0.25 | 7.5
SOHAM-CHERRY TREE SP | 2 | 15 | 0.25 | 7.5
BENEFIELD STW | 2 | 14 | 0.23333 | 7
GRETTON STW | 2 | 14 | 0.23333 | 7
ST IVES-MEADOW LANE PS | 2 | 14 | 0.23333 | 7
BARTON-FLEETGATE TPS | 2 | 13 | 0.21667 | 6.5
GREAT BRICKHILL STW | 2 | 10 | 0.16667 | 5
NORWICH-LOWER CLOSE CSO | 2 | 9 | 0.15 | 4.5
NORWICH-PRINCE OF WALES ROAD CSO | 2 | 9 | 0.15 | 4.5
SOUTHEND-VICTORIA AVENUE | 2 | 9 | 0.15 | 4.5
STURTON BY STOW STW | 2 | 9 | 0.15 | 4.5
GT YARMOUTH SUFFLING RD SP | 2 | 7 | 0.11667 | 3.5
SPALDING STW | 2 | 7 | 0.11667 | 3.5
BRIGHTLINGSEA-SPRING ROAD SSO | 2 | 6 | 0.1 | 3
GRIMSBY-RIBY ST SP | 2 | 5 | 0.083333 | 2.5
COVENEY STW SSO | 2 | 4 | 0.066667 | 2
SAFFRON WALDEN CASTLE STREET MH5506 FDT | 2 | 4 | 0.066667 | 2
SAXLINGHAM STW | 2 | 4 | 0.066667 | 2
WOODNEWTON STW | 2 | 4 | 0.066667 | 2
ALDBOROUGH SEWAGE TREATMENT WORKS | 2 | 3 | 0.05 | 1.5
OVER STW | 2 | 3 | 0.05 | 1.5
ST IVES STW | 2 | 3 | 0.05 | 1.5
BRINGTON STW | 2 | 2 | 0.033333 | 1
MILDENHALL STW | 2 | 2 | 0.033333 | 1
SHENFIELD AND HUTTON STW | 2 | 2 | 0.033333 | 1
BOZEAT STW | 2 | 1 | 0.016667 | 0.5
BUNGAY STW | 2 | 1 | 0.016667 | 0.5
BURNHAM MARKET STW | 2 | 1 | 0.016667 | 0.5
COGGESHALL STW | 2 | 1 | 0.016667 | 0.5
FISKERTON STW | 2 | 1 | 0.016667 | 0.5
FORNHAM ALL STS-PIGEON LN TPS | 2 | 1 | 0.016667 | 0.5
MANBY STW | 2 | 1 | 0.016667 | 0.5
STANFORD LE HOPE BROADHOPE PS | 2 | 1 | 0.016667 | 0.5
WOODBRIDGE-QUAYSIDE TPS | 2 | 1 | 0.016667 | 0.5
BILLERICAY STW | 2 | 0 | 0 | 0
BRIGSTOCK STW | 2 | 0 | 0 | 0
ROTHWELL-GLENDON RD SCREEN OV | 2 | 0 | 0 | 0
STRETHAM-OFF NEWMARKET RD TPS | 2 | 0 | 0 | 0
SKEGNESS-RICHMOND DR TPS | 1 | 2061 | 34.35 | 2061 | Potential monitor fault/False alarm
GREAT OXENDON STW | 1 | 1323 | 22.05 | 1323 | Represents activation on 27/5/25
NEWPORT PAGNELL-WILLEN RD TPS | 1 | 1038 | 17.3 | 1038 | Represents activation on 24/5/25
DOWNHAM MARKET STW | 1 | 315 | 5.25 | 315
Drayton SSO | 1 | 256 | 4.2667 | 256
WESTON-DELGATE AVE TPS | 1 | 233 | 3.8833 | 233
KETTON-STAMFORD RD SP | 1 | 211 | 3.5167 | 211
WRAWBY-STARR CARR LA SP | 1 | 188 | 3.1333 | 188
WOTHORPE SSO | 1 | 160 | 2.6667 | 160
LITTLE BRINGTON SP | 1 | 152 | 2.5333 | 152
THORNDON-STANDWELL GN TPS | 1 | 139 | 2.3167 | 139
DYKE-VILLAGE ST SP | 1 | 131 | 2.1833 | 131
CANVEY-HIGH ST SP | 1 | 128 | 2.1333 | 128
HOLCOT SP | 1 | 119 | 1.9833 | 119
LITTLE BYTHAM-STATION RD SSO | 1 | 111 | 1.85 | 111
MELTON CONSTABLE-BURGH BECK SP | 1 | 110 | 1.8333 | 110
S KELSEY-NORTH SP | 1 | 109 | 1.8167 | 109
HALESWORTH STW | 1 | 106 | 1.7667 | 106
LITTLE STAUGHTON STW | 1 | 104 | 1.7333 | 104
SPALDING-WELLAND ROAD SP | 1 | 104 | 1.7333 | 104
HALVERGATE-MARSH RD SP | 1 | 100 | 1.6667 | 100
ST IVES-PRIORY ROAD SP | 1 | 97 | 1.6167 | 97
KINGS LYNN-GAYWOOD OUTFALL OV | 1 | 92 | 1.5333 | 92
KINGS LYNN-GAYWOOD OUTFALL SSO | 1 | 92 | 1.5333 | 92
NORTH LUFFENHAM TPS | 1 | 87 | 1.45 | 87
MARSTON STW (LINCS) | 1 | 85 | 1.4167 | 85
THEALBY STW | 1 | 78 | 1.3 | 78
BOXWORTH-HIGH ST TPS | 1 | 76 | 1.2667 | 76
PULHAM ST MARY STW | 1 | 75 | 1.25 | 75
RUNTON-BEACH RD TPS | 1 | 72 | 1.2 | 72
LEIGHTON LINSLADE STW | 1 | 65 | 1.0833 | 65
KINGS LYNN-PURFLEET QUAY SP | 1 | 59 | 0.98333 | 59
TOLLESHUNT KNIGHTS-BROOK R TPS | 1 | 59 | 0.98333 | 59
WEST HADDON SP | 1 | 58 | 0.96667 | 58
EAST RUDHAM PUMPING STATION | 1 | 52 | 0.86667 | 52
CLACTON-VICTORIA RD SO | 1 | 49 | 0.81667 | 49
CHATTERIS-HUNTINGDON RD OV | 1 | 48 | 0.8 | 48
CAMBRIDGE STW | 1 | 46 | 0.76667 | 46
TINWELL SEWAGE PUMPING STATION | 1 | 46 | 0.76667 | 46
THORNDON-CATBRIDGE STW | 1 | 41 | 0.68333 | 41
GT HALE SP | 1 | 40 | 0.66667 | 40
STALHAM-MILL ROAD TPS | 1 | 34 | 0.56667 | 34
PEAKIRK-ST PEGAS ROAD SSO | 1 | 33 | 0.55 | 33
SHERINGHAM BEACH RD | 1 | 33 | 0.55 | 33
GORLESTON BRUSH BEND OV | 1 | 32 | 0.53333 | 32
ODELL STW | 1 | 32 | 0.53333 | 32
WEELEY-WILLOW WALK TPS | 1 | 32 | 0.53333 | 32
WESTON UNDERWOOD STW | 1 | 32 | 0.53333 | 32
IPSWICH-CLIFF QUAY STW (SOUTH EASTERN AREA SEWER CSO) | 1 | 30 | 0.5 | 30
NORWICH CARROW ROAD | 1 | 30 | 0.5 | 30
NORTHAMPTON ABINGTON TANK SSO | 1 | 25 | 0.41667 | 25
IPSWICH-YARMOUTH RD CSO | 1 | 24 | 0.4 | 24
SO LEIGHTON BUZZARD | 1 | 24 | 0.4 | 24
NEWTON LONGVILLE-WHADDON RD SP | 1 | 22 | 0.36667 | 22
ST NEOTS STW | 1 | 21 | 0.35 | 21
HACKLETON TPS | 1 | 20 | 0.33333 | 20
KIBWORTH-RAILWAY BRIDGE SSO | 1 | 18 | 0.3 | 18
SUDBURY-GREAT EASTERN ROAD TPS | 1 | 16 | 0.26667 | 16
COLCHESTER-DILBRIDGE RD OV | 1 | 15 | 0.25 | 15
HIGHAM FERRERS-NORTHAMPTON ROAD CSO | 1 | 15 | 0.25 | 15
LITTLE HARROWDEN SSO | 1 | 15 | 0.25 | 15
BROMHAM-VILLAGE ROAD SSO | 1 | 14 | 0.23333 | 14
PYTCHLEY-ORLINGBURY RD SSO | 1 | 14 | 0.23333 | 14
HALSTEAD-PARSONS BRIDGE NO 2 | 1 | 13 | 0.21667 | 13
Uplands Way CSO | 1 | 13 | 0.21667 | 13
IPSWICH MAIDENHALL | 1 | 12 | 0.2 | 12
IVINGHOE STW | 1 | 12 | 0.2 | 12
LONG BUCKBY MH2200 | 1 | 12 | 0.2 | 12
SAWSTON STW | 1 | 12 | 0.2 | 12
DULLINGHAM STW | 1 | 11 | 0.18333 | 11
LEISTON-MAIN ST [2] | 1 | 10 | 0.16667 | 10
LOUTH-BROADBANK SSO | 1 | 10 | 0.16667 | 10
LOUTH-GRAYS ROAD SSO | 1 | 10 | 0.16667 | 10
LOUTH-NEWBRIDGE HILL SSO | 1 | 10 | 0.16667 | 10
SOUTHEND-HAMS/ROY ART W CSO | 1 | 10 | 0.16667 | 10
WILBURTON WRC TERMINAL PUMPING STATION | 1 | 10 | 0.16667 | 10
WOLLASTON LONDON RD SSO | 1 | 10 | 0.16667 | 10
FAKENHAM-NORWICH ROAD OV | 1 | 9 | 0.15 | 9
ANWICK-RIVER LA TPS | 1 | 8 | 0.13333 | 8
EASTON MAUDIT STW | 1 | 7 | 0.11667 | 7
SOUTHEND-SOUTHCHURCH ROAD CSO | 1 | 7 | 0.11667 | 7
COGGESHALL-EAST ST R O #18 OV | 1 | 6 | 0.1 | 6
MELBOURN STW | 1 | 6 | 0.1 | 6
COLCHESTER-BOURNE MILL OV | 1 | 5 | 0.083333 | 5
DESBOROUGH-NEAR CORSET FACTORY | 1 | 5 | 0.083333 | 5
EARLS COLNE-ST.ANDREWS CH SSO | 1 | 5 | 0.083333 | 5
FISHTOFT STW | 1 | 5 | 0.083333 | 5
HARWICH AND DOVERCOURT STW | 1 | 5 | 0.083333 | 5
HAWKWELL-RECTORY RD HAWKWELL | 1 | 5 | 0.083333 | 5
KINGS LYNN-ST PETERS ROAD TPS | 1 | 5 | 0.083333 | 5
LITTLE DOWNHAM STW | 1 | 5 | 0.083333 | 5
LT DOWNHAM-CALIFORNIA SSO | 1 | 5 | 0.083333 | 5
NORTHAMPTON-BEDFORD ROAD SSO | 1 | 5 | 0.083333 | 5
S BENFLEET-HALL FARM RD SP | 1 | 5 | 0.083333 | 5
SANDY-HIGH STREET SSO | 1 | 5 | 0.083333 | 5
SAXILBY-HIGH ST/MANOR RD SSO | 1 | 5 | 0.083333 | 5
SILSOE-HIGH STREET CSO | 1 | 5 | 0.083333 | 5
SLEAFORD-QUEEN ST/GRANTHAM RD | 1 | 5 | 0.083333 | 5
SOUTHEND-RIV DR/CHINCH'LA CSO | 1 | 5 | 0.083333 | 5
SOUTHMINSTER-BURNHAM RD OV | 1 | 5 | 0.083333 | 5
WELLINGBOROUGH-RAIL STATIONSSO | 1 | 5 | 0.083333 | 5
WITCHAM STW | 1 | 5 | 0.083333 | 5
CLEETHORPES, KINGS ROAD PS | 1 | 4 | 0.066667 | 4
DISS-SARACENS HD MOUNT ST OV | 1 | 4 | 0.066667 | 4
LEISTON -WATERLOO PARK CSO | 1 | 4 | 0.066667 | 4
LEISTON-HAYLINGS ROAD | 1 | 4 | 0.066667 | 4
LITTLEPORT-HOOF CLOSE SSO | 1 | 4 | 0.066667 | 4
NORTHAMPTON-BRIDGE ST OV | 1 | 4 | 0.066667 | 4
SOUTHEND-CHURCH ROAD CSO | 1 | 4 | 0.066667 | 4
SWINDERBY (EX-RAF) STW | 1 | 4 | 0.066667 | 4
WINTERINGHAM-STATION FARM SSO | 1 | 4 | 0.066667 | 4
BECCLES-MARSH LANE STW | 1 | 2 | 0.033333 | 2
DRY DODDINGTON TPS | 1 | 2 | 0.033333 | 2
DUNSTABLE STW | 1 | 2 | 0.033333 | 2
FORNCETT-FORNCETT END STW | 1 | 2 | 0.033333 | 2
GT WAKERING-SEAVIEW EST SP | 1 | 2 | 0.033333 | 2
GT YARMOUTH-BOUNDARY RD SP | 1 | 2 | 0.033333 | 2
LEISTON-WATERLOO AVENUE | 1 | 2 | 0.033333 | 2
PETERBOROUGH-OUNDLE ROAD SSO | 1 | 2 | 0.033333 | 2
SOUTHEND-LEIGH HILL CSO | 1 | 2 | 0.033333 | 2
WALCOTT-THE DRIFT SP | 1 | 2 | 0.033333 | 2
BRANDON STW | 1 | 1 | 0.016667 | 1
HANSLOPE STW | 1 | 1 | 0.016667 | 1
HORNING-KNACKERS WOOD STW | 1 | 1 | 0.016667 | 1
LOWESTOFT (MARINA) CSO | 1 | 1 | 0.016667 | 1
MARCH STW | 1 | 1 | 0.016667 | 1
NORTH ELMHAM STW | 1 | 1 | 0.016667 | 1
NORWICH-ST FAITHS LANE CSO | 1 | 1 | 0.016667 | 1
ROXTON WORKS SP | 1 | 1 | 0.016667 | 1
BARTON-WIMPOLE RD PS | 1 | 0 | 0 | 0
CANWICK STW | 1 | 0 | 0 | 0
CHEVINGTON-CHURCH RD TPS | 1 | 0 | 0 | 0
COLCHESTER STW | 1 | 0 | 0 | 0
DICKLEBURGH-RECTORY RD STW | 1 | 0 | 0 | 0
EAST BERGHOLT WRC | 1 | 0 | 0 | 0
GREAT CHESTERFORD STW | 1 | 0 | 0 | 0
GREAT DUNMOW STW | 1 | 0 | 0 | 0
GREAT TOTHAM STW | 1 | 0 | 0 | 0
HARLESTON STW | 1 | 0 | 0 | 0
INGOLDMELLS-SOUTH GATE CAMP | 1 | 0 | 0 | 0
KEELBY STW | 1 | 0 | 0 | 0
LUBENHAM SP | 1 | 0 | 0 | 0
N KYME-FERRY LA TPS | 1 | 0 | 0 | 0
NORTHILL-ICKWELL ROAD SP | 1 | 0 | 0 | 0
REEPHAM STW (LINCS) | 1 | 0 | 0 | 0
REEPHAM-KENNEL LA/CLOUGH HIL | 1 | 0 | 0 | 0
STAMFORD-HUDDS MILL TPS | 1 | 0 | 0 | 0
STRETHAM STW | 1 | 0 | 0 | 0
TOWCESTER STW | 1 | 0 | 0 | 0
WHITLINGHAM TROWSE STW | 1 | 0 | 0 | 0
WILSFORD STW | 1 | 0 | 0 | 0
WING-CUBLINGTON ROAD STW | 1 | 0 | 0 | 0
WOODHALL SPA STW | 1 | 0 | 0 | 0
WOODHALL SPA STW TPS | 1 | 0 | 0 | 0